## Branxton
BRANXTON WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - MARCH 2020
|  | Environment Protection Licence No. 1680 | [6 empty] | Licensee | Hunter Water Corporation
|  | Date Obtained: 1 April 2020 | [7 empty] | 36 Honeysuckle Drive
|  | Date Published: 23 April 2020 | [7 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 |  | Site Description - Outlet to Farmers Reuse Storage
Site Code 5SL0500
[6 empty] | No. of times measured during the month for licence reporting * | Monthly Summary
1 March 2020 to 31 March 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chlorine (total residual) | Total Chlorine | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Enterococci | Enterococci | colony forming units per 100 mL |  | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | 2nd pH-S1 | colony forming units per 100 mL | (cfu/100ml) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | TON | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | TKN | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Total N | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | 6.5 - 8.5 | - - - | N/A
Phosphorus (total) | TP | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS(b) | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
* No samples were collected as no discharge occurred during the month
EPA Id. No. 11 |  | Site Description - Discharge to Black Creek from Reuse Water Storage
Site Code 5BL0500
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 March 2020 to 31 March 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Chlorophyll 'a' | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Chlorine (total residual) | Reported TC | milligrams per litre | (mg/L) | First 24hrs then weekly | WEEKLY | 4 | <0.10 | 0.13 | <0.10 | 0.2 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 12 |  | Site Description - Reuse Water Pump Station
Site Code 5SK0535
[6 empty] | No. of times measured during the month for licence reporting | Monthly Summary
1 March 2020 to 31 March 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | <2 | 2 | <2 | 3 | N/A | N/A | N/A | N/A | N/A
Enterococci | Enterococci | colony forming units per 100 mL |  | Weekly | WEEKLY | 4 | <1 | 1 | <1 | 2 | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC | colony forming units per 100 mL | (cfu/100ml) | Weekly | WEEKLY | 4 | <1 | 1 | <1 | 2 | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | TON | milligrams per litre | (mg/L) | Monthly | MONTHLY | 1 | 4.1 | 4.1 | 4.1 | 4.1 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre | (mg/L) | Monthly | MONTHLY | 1 | 0.08 | 0.08 | 0.08 | 0.08 | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | Total N | milligrams per litre | (mg/L) | Monthly | MONTHLY | 1 | 4.6 | 4.6 | 4.6 | 4.6 | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | Weekly | WEEKLY | 4 | 7.31 | 7.3725 | 7.375 | 7.43 | N/A | N/A | 6.5 - 8.5 | 7.31 - 7.43 | Yes
Phosphorus (total) | TP | milligrams per litre | (mg/L) | Monthly | MONTHLY | 1 | 0.065 | 0.065 | 0.065 | 0.065 | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | TKN | milligrams per litre | (mg/L) | Monthly | MONTHLY | 1 | 0.5 | 0.5 | 0.5 | 0.5 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS | milligrams per litre | (mg/L) | Weekly | WEEKLY | 4 | <1 | <1 | <1 | <1 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 13 |  | Site Description - Outlet to Anvil Creek from Wet Weather Storage Pond.
Site Code 5OV0500
[6 empty] | No. of times measured during the month for licence reporting *** | Monthly Summary
1 March 2020 to 31 March 2020
|  | Unit of |  | Sampling |  |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant |  | Measurement |  | Frequency |  |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | BOD | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Enterococci | Enterococci | colony forming units per 100 mL |  | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | FC Hdn | colony forming units per 100 mL | (cfu/100ml) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | TON | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | Ammonia | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | pH | pH | pH | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | TP | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | TKN | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | TSS(b) | milligrams per litre | (mg/L) | First 24hrs then weekly |  | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
*** No samples were collected as no discharge occurred during the month
VOLUME MONITORING |  |  | 90
Monthly Summary
1 March 2020 to 31 March 2020
Monitoring Point |  |  | Flow Column | Unit of |  | Sampling | No. of times measured during the month |  |  | Volume | Within Limits
|  |  |  | Measurement |  | Frequency |  |  | Maximum | Limit
Point 1 - Anvil Creek Discharge |  |  | 5 | kilolitres per day | 0 | Daily | 31 |  | 0 | 31104 | Yes
Point 2 - Woodlot Discharge |  |  | 9 | kilolitres per day | 0 | Daily | 31 |  | 0 | N/A | N/A
Point 6 - Farmer Discharge |  |  | 10 | kilolitres per day | 0 | Daily | 31 |  | 0 | N/A | N/A
Point 8 - Spillway to Anvil from Wet Weather Storage |  |  | 14 | kilolitres per day | 0 | Daily | 31 |  | 0 | N/A | N/A
Point 9 - Spillway to Anvil from Farmer's Storage |  |  | 15 | kilolitres per day | 0 | Daily | 31 |  | 0 | N/A | N/A
Point 10 - Vintage Golf Course |  |  | 7 | kilolitres per day | 2211 | Daily | 31 |  | 2211 | N/A | N/A
Point 11 - Black Creek Discharge |  |  | 8 | kilolitres per day | 2494 | Daily | 31 |  | 2494 | 31104 | Yes
Point 13 - Outlet to Anvil from Wet Weather Storage |  |  | 13 | kilolitres per day | 0 | Daily | 31 |  | 0 | N/A | N/A
Point 14 - Branxton Golf Course |  |  | 11 | kilolitres per day | 161.2 | Daily | 31 |  | 161.2 | N/A | N/A
Combined Point 1, 8, 9, 11 and 13 |  |  | 16 | kilolitres per day | 2494 | Daily | 31 |  | 2494 | 31104 | Yes
Note on D76: awebb: Last row of flow table