## Oct 18
BRANXTON WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - OCTOBER 2018
| Environment Protection Licence No. 1680 |  |  |  |  | Licensee | Hunter Water Corporation
| Date Obtained: 5 November 2018 | [5 empty] | 36 Honeysuckle Drive
| Date Published: 21 November 2018 | [5 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 | Site Description - Outlet from Farmers Reuse Storage
Site Code 5SL0500
|  |  | No. of times measured during the month for licence reporting * | Monthly Summary
1 October 2018 to 31 October 2018
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chlorine (total residual) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | pH | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | 6.5 - 8.5 | - - - | N/A
Phosphorus (total) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
* No samples were collected as no discharge occurred during the month
EPA Id. No. 11 | Site Description - Discharge to Black Creek from Reuse Water Storage
Site Code 5BL0500
|  |  | No. of times measured during the month for licence reporting | Monthly Summary
1 October 2018 to 31 October 2018
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Chlorine (total residual) | milligrams per litre | First 24hrs then weekly | 3 | <0.10 | 0.12 | 0.13 | 0.13 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 12 | Site Description - Reuse Water Pump Station
Site Code 5SK0535
|  |  | No. of times measured during the month for licence reporting | Monthly Summary
1 October 2018 to 31 October 2018
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly | 5 | <2 | 2.4 | <2 | 4 | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Weekly | 5 | 1 | 1 | 1 | 1 | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | milligrams per litre | Monthly | 1 | 4.7 | 4.7 | 4.7 | 4.7 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Monthly | 1 | <0.05 | <0.05 | <0.05 | <0.05 | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Monthly | 1 | 5.5 | 5.5 | 5.5 | 5.5 | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly | 5 | 7.03 | 7.306 | 7.3 | 7.57 | N/A | N/A | 6.5 - 8.5 | 7.03 - 7.57 | Yes
Phosphorus (total) | milligrams per litre | Monthly | 1 | 0.094 | 0.094 | 0.094 | 0.094 | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | milligrams per litre | Monthly | 1 | 0.8 | 0.8 | 0.8 | 0.8 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly | 5 | <1 | 1.6 | <1 | 4 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 13 | Site Description - Outlet from Wet Weather Storage Pond.
Site Code 5OV0500
|  |  | No. of times measured during the month for licence reporting *** | Monthly Summary
1 October 2018 to 31 October 2018
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | pH | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
*** No samples were collected as no discharge occurred during the month
VOLUME MONITORING
Monthly Summary
1 October 2018 to 31 October 2018
Monitoring Point |  | Unit of | Sampling | No. of times measured during the month |  |  | Volume | Within
|  | Measurement | Frequency |  |  | Maximum | Limit | Limits?
Point 1 - Anvil Creek Discharge |  | kilolitres per day | Daily | 31 |  | 0 | 31104 | Yes
Point 2 - Woodlot Discharge |  | kilolitres per day | Daily | 31 |  | 0 | N/A | N/A
Point 6 - Farmer Discharge |  | kilolitres per day | Daily | 31 |  | 0 | N/A | N/A
Point 7 - Branxton Golf Course |  | kilolitres per day | Daily | 31 |  | 195.4 | N/A | N/A
Point 8 - Spillway to Anvil from Wet Weather Storage |  | kilolitres per day | Daily | 31 |  | 0 | N/A | N/A
Point 9 - Spillway to Anvil from Farmer's Storage |  | kilolitres per day | Daily | 31 |  | 0 | N/A | N/A
Point 10 - Vintage Golf Course |  | kilolitres per day | Daily | 31 |  | 2270 | N/A | N/A
Point 11 - Black Creek Discharge |  | kilolitres per day | Daily | 31 |  | 1823 | 31104 | Yes
Point 13 - Outlet to Anvil from Wet Weather Storage |  | kilolitres per day | Daily | 31 |  | 0 | N/A | N/A
Combined Point 1, 8, 9, 11 and 13 |  | kilolitres per day | Daily | 31 |  | 1823 | 31104 | Yes
EPA Id. No. 11 | Site Description - Discharge to Black Creek from Reuse Water Storage
Site Code 5BL0500
|  |  |  | Corrected | Date | Date Originally
Pollutant | Uit of Measurement | Measurement | Original Data | Data | Corrected | Published | Reason
Chlorine (total residual) | milligrams per litre | Mean | 0.13 | 0.12 | 2019-10-15 | 2018-11-21 | Reporting Error
Chlorine (total residual) | milligrams per litre | Median | 0.14 | 0.13 | 2019-10-15 | 2018-11-21 | Reporting Error
Chlorine (total residual) | milligrams per litre | Maximum | 0.14 | 0.13 | 2019-10-15 | 2018-11-21 | Reporting Error
Chlorine (total residual) | milligrams per litre | Number of samples | 4 | 3 | 2019-10-15 | 2018-11-21 | Reporting Error

## April 19
BRANXTON WASTEWATER TREATMENT WORKS - MONTHLY POLLUTION MONITORING SUMMARY - APRIL 2019
| Environment Protection Licence No. 1680 |  |  |  |  | Licensee | Hunter Water Corporation
| Date Obtained: 2 May 2019 | [5 empty] | 36 Honeysuckle Drive
| Date Published: 22 October 2019 | [5 empty] | NEWCASTLE WEST NSW 2302
QUALITY MONITORING
EPA Id. No. 1 | Site Description - Outlet from Farmers Reuse Storage
Site Code 5SL0500
|  |  | No. of times measured during the month for licence reporting * | Monthly Summary
1 April 2019 to 30 April 2019
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Chlorine (total residual) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | pH | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | 6.5 - 8.5 | - - - | N/A
Phosphorus (total) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
* No samples were collected as no discharge occurred during the month
EPA Id. No. 11 | Site Description - Discharge to Black Creek from Reuse Water Storage
Site Code 5BL0500
|  |  | No. of times measured during the month for licence reporting | Monthly Summary
1 April 2019 to 30 April 2019
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Chlorine (total residual) | milligrams per litre | First 24hrs then weekly | 3 | <0.10 | 0.15 | <0.10 | 0.24 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 12 | Site Description - Reuse Water Pump Station
Site Code 5SK0535
|  |  | No. of times measured during the month for licence reporting | Monthly Summary
1 April 2019 to 30 April 2019
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | Weekly | 4 | <2 | <2 | <2 | <2 | N/A | N/A | N/A | N/A | N/A
Enterococci | colony forming units per 100 mL | Weekly | 4 | <1 | <1 | <1 | <1 | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | Weekly | 4 | <1 | <1 | <1 | <1 | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | milligrams per litre | Monthly | 1 | 5 | 5 | 5 | 5 | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | Monthly | 1 | 0.06 | 0.06 | 0.06 | 0.06 | N/A | N/A | N/A | N/A | N/A
Nitrogen (total) | milligrams per litre | Monthly | 1 | 6.2 | 6.2 | 6.2 | 6.2 | N/A | N/A | N/A | N/A | N/A
pH | pH | Weekly | 4 | 7.32 | 7.46 | 7.42 | 7.68 | N/A | N/A | 6.5 - 8.5 | 7.32 - 7.68 | Yes
Phosphorus (total) | milligrams per litre | Monthly | 1 | 0.11 | 0.11 | 0.11 | 0.11 | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | milligrams per litre | Monthly | 1 | 1.2 | 1.2 | 1.2 | 1.2 | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | Weekly | 4 | <1 | 2 | <1 | 5 | N/A | N/A | N/A | N/A | N/A
EPA Id. No. 13 | Site Description - Outlet from Wet Weather Storage Pond.
Site Code 5OV0500
|  |  | No. of times measured during the month for licence reporting *** | Monthly Summary
1 April 2019 to 30 April 2019
| Unit of | Sampling |  |  | Mean | Median |  | 3DGM | 3DGM | 100%ile | 100%ile | Within
Pollutant | Measurement | Frequency |  | Minimum | Value | Value | Maximum | Limit | Actual | Limit | Actual | Limits
Biochemical Oxygen Demand | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Faecal Coliforms | colony forming units per 100 mL | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrate+nitrite (oxidised nitrogen) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Nitrogen (ammonia) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
pH | pH | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Phosphorus (total) | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Kjeldahl Nitrogen | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
Total Suspended Solids | milligrams per litre | First 24hrs then weekly | - | - | - | - | - | N/A | N/A | N/A | N/A | N/A
*** No samples were collected as no discharge occurred during the month
VOLUME MONITORING
Monthly Summary
1 April 2019 to 30 April 2019
Monitoring Point |  | Unit of | Sampling | No. of times measured during the month |  |  | Volume | Within
|  | Measurement | Frequency |  |  | Maximum | Limit | Limits?
Point 1 - Anvil Creek Discharge |  | kilolitres per day | Daily | 30 |  | 0 | 31104 | Yes
Point 2 - Woodlot Discharge |  | kilolitres per day | Daily | 30 |  | 0 | N/A | N/A
Point 6 - Farmer Discharge |  | kilolitres per day | Daily | 30 |  | 0 | N/A | N/A
Point 8 - Spillway to Anvil from Wet Weather Storage |  | kilolitres per day | Daily | 30 |  | 0 | N/A | N/A
Point 9 - Spillway to Anvil from Farmer's Storage |  | kilolitres per day | Daily | 30 |  | 0 | N/A | N/A
Point 10 - Vintage Golf Course |  | kilolitres per day | Daily | 30 |  | 3131 | N/A | N/A
Point 11 - Black Creek Discharge |  | kilolitres per day | Daily | 30 |  | 1414 | 31104 | Yes
Point 13 - Outlet to Anvil from Wet Weather Storage |  | kilolitres per day | Daily | 30 |  | 0 | N/A | N/A
Point 14 - Branxton Golf Course |  | kilolitres per day | Daily | 30 |  | 238 | N/A | N/A
Combined Point 1, 8, 9, 11 and 13 |  | kilolitres per day | Daily | 30 |  | 1414 | 31104 | Yes
EPA Id. No. 11 | Site Description - Discharge to Black Creek from Reuse Water Storage
Site Code 5BL0500
|  |  |  | Corrected | Date | Date Originally
Pollutant | Uit of Measurement | Measurement | Original Data | Data | Corrected | Published | Reason
Chlorine (total residual) | milligrams per litre | Mean | 0.14 | 0.15 | 2019-10-15 | 2019-05-21 | Reporting Error
Chlorine (total residual) | milligrams per litre | Number of samples | 4 | 3 | 2019-10-15 | 2019-05-21 | Reporting Error